## Fire Safety Policy & Procedures

### 1. Purpose

To ensure the safety of all staff, volunteers, users, visitors and property from fire at Shirley Community Library, by means of prevention, early detection, safe evacuation, and emergency response.

### 2. Scope

Applies to all persons using the building (staff, volunteers, hirers, visitors), always when the building is open, including events outside normal hours. Covers all parts of the premises:

- Main Hall Library Room

- Breakout Rooms (2)

- Offices (2)

- Storage areas (outside)

- Kitchen

- Toilets

- Entrance Lobby

- Courtyard / garden

- Any other ancillary spaces (e.g. corridors, emergency exits)

### 3. Responsible Persons

| Role | Name / Position | Responsibilities |
| --- | --- | --- |
| Fire Safety Responsible Person | Chris Hennis/ Business Director | Overall responsibility for fire safety, ensuring policy is implemented, reviewed, staff training, fire drills, maintenance of fire safety equipment. |
| Deputy Responsible Person | Sharon Brennan | Acts in place of Responsible Person if unavailable. |
| All Staff & Volunteers | — | To familiarise themselves with fire safety policy, evacuation routes, fire alarms, to assist visitors in emergency, and report hazards. |

*Prior to lease agreements, compliance and alarm tests are the responsibility of Croydon Council, however, Play Place will take this over post lease being agreed (2025/26).

### 4. Fire Risk Assessment

- A full Fire Risk Assessment shall be carried out annually by Citation or whenever there is significant change in layout, uses or occupancy.

- Assessment will review potential fire hazards (especially in kitchen, storage, electrical equipment), identify people at risk, evaluate means of escape, fire detection & alarms, firefighting equipment, emergency lighting etc.

- Results of risk assessment shall be recorded, and remedial actions followed up.

### 5. Fire Prevention Measures

- Kitchen safety: ensure appliances are maintained, turned off when not in use; flammable materials stored safely; extraction and ventilation in good working order.

- Electrical safety: regular PAT testing; no overloading sockets; correct use of extension leads; lighting and equipment checked.

- Storage: flammable materials stored away from ignition sources; storage rooms kept tidy, non-blocking exits.

- Housekeeping: keep corridors, exits, stairways clear; rubbish disposed of promptly; combustible waste kept well away from building.

- Smoking policy: No smoking inside building; designated area outside far from combustible materials, with safe disposal of cigarette‐butts.

### 6. Fire Detection, Warning & Alarm Systems

- The building is equipped with smoke/fire alarms in main hall, kitchen, corridors, etc. (specify types: e.g. automatic, manual call points).

- Alarms shall be tested weekly (sound checks) and full system tested at intervals as per manufacturer or legal requirement.

- Emergency lighting (where installed) shall function on backup power; tested monthly and annually.

### 7. Firefighting Equipment

- Fire extinguishers located in key positions: near kitchen, main hall, entrance lobby etc. (specify type: e.g. CO₂, dry powder, water).

- Fire blankets in kitchen.

- Fire doors to be kept closed; ensure self-closing devices working.

- Equipment shall be inspected annually by competent person; staff trained in correct use.

### 8. Means of Escape & Evacuation Procedures

- Clearly marked exit routes from main library and breakout rooms, kitchen/toilet. Leading to final exit outside. Ensure rear gate is always open during the venues open period.

- Exit signs visible, emergency lighting in corridors/exits.

- Evacuation procedure:

  - On discovering a fire, raise the alarm (use manual call point).

  - Staff/volunteer to phone emergency services (999), giving location.

  - Staff to ensure safe evacuation of all people, directing to designated assembly point (outside, in the outdoor seat end front of the library.

  - Staff to check breakout rooms if safe to do so, without risking safety.

  - Ensure accessible evacuation for disabled persons.

  - Once evacuated, do not re-enter until firefighting authorities say so.

### 9. Assembly Point

- Identify and clearly mark an external assembly point (e.g. front courtyard / garden area or any safe distance in the entrance yard).

- All users to report to assembly point so roll-call / headcount can be done.

### 10. Training, Instruction & Drills

- All staff and volunteers receive fire safety induction when starting location of exits, alarms, extinguishers, assembly point, roles.

- Regular fire drills (at least twice a year) to test evacuation, raising alarm, assembly etc.

- Record drills, times, issues, corrective actions.

### 11. Maintenance & Inspections

- Fire safety equipment (alarms, extinguishers, emergency lighting) checked as per schedule (weekly/monthly/annually).

- All fire doors, escape routes, signage maintained and kept clear.

- Kitchen equipment maintained.

- Electrical installations properties checked regularly by qualified electrician.

### 12. During Let/Hire by External Organisations

- Hirers must be made aware of fire safety policy and evacuation procedure on arrival.

- Hirer responsible for ensuring their event attendees follow safety guidance, not obstruct exits.

- Hirer to nominate a responsible person for their event (to act in case of fire).

- Centre management to check that hirers understand how to raise the alarm, where assembly point is, and where exits are.

### 13. Record Keeping

- Fire Risk Assessment document (with date, findings, actions).

- Logs of alarm tests, equipment inspections, drills.

- Records of staff training.

- Incident reports if any fire or near miss.

### 14. Review

- Policy to be reviewed annually or whenever changes occur (building layout, use, staffing).

- After any fire incident, evacuation or drill: review what worked, what didn’t, update policy accordingly.