FIRE & SAFETY POLICY

Table of Contents

1.	Introduction	3

2.	Fire & Safety Officer	3

3.	Fire Safety Log Books	3

4.	Escape Routes and Exits	3

5.	Emergency Lighting	3

6.	Fire Fighting Equipment	3

7.	Electrical System & Appliances	3

8.	Fire and Emergency Evacuation	4

9.	Fire Safety Inspections	4

10.	Fire Risk Assessments	4

11.	Policy Adoption and Review	4

Appendix 1   Fire Safety and Emergency Plan Guide for Hirers	5

Appendix 1 Fire Exit Routes	7

# Introduction

Padworth Village Hall is a registered charity with trustees responsible for its management. The Padworth Village Hall Committee (PVHC) is responsible for the day-to-day management of the Village Hall. The PVHC comprises elected members and members who represent some of the regular hirers of the hall.

The PVHC is responsible for the implementation of this Fire Safety Policy.

The PVHC will implement the following to ensure the fire safety of all users of the Village Hall and the building:

# Fire & Safety Officer

PVHC will appoint one of its members to act as the Village Halls’ Fire Safety Officer.

# Fire Safety Log Books

All relevant Fire Safety log books detailing the Fire Risk Assessments, alarm tests, firefighting equipment checks etc will be maintained by the Security Warden.

# Escape Routes and Exits

All Village Hall escape routes and exits will be clearly signed and kept free from obstruction at all times, to ensure safe evacuation from the building.

# Emergency Lighting

All emergency lighting will be visibly checked on a regular basis by the Security Warden, serviced and maintained on an annual basis by a regular contractor and the results recorded.

# Fire Fighting Equipment

Firefighting equipment will be provided in appropriate places within the Village Hall, according to the particular fire risk posed (e.g. Fire Blanket in the kitchen). All the firefighting equipment will be visually checked on a regular basis by the Security Officer, serviced and maintained on an annual basis by a regular contractor and the results recorded.

# Electrical System & Appliances

The Village Hall’s electrical wiring installation will be inspected every 5 years by an electrical contractor and the results recorded.  All portable electrical appliances provided by PVHC will be tested annually by a recognised contractor and the results recorded.  The Village Hall’s boiler will be serviced annually by a recognised contractor and the results recorded.

# Fire and Emergency Evacuation

All users of the Village Hall will be required to familiarise themselves with the ‘Fire Safety Guidance and Emergency Plan’ for Hirers (attached as Appendix 1 at the end of this Policy Statement) which is ALSO displayed on the Village Halls’ notice board.

PVHC will recommend that all regular Hirers of the Hall should conduct fire evaluation drills for their event attendees.

# Fire Safety Inspections

The Security Warden will be responsible for conducting regular visual inspections of the Village Hall and all its fire safety equipment.  These inspections should ensure, as a minimum, that:

- All fire routes and exits are free from obstruction

- All emergency lighting is working

- All firefighting equipment is present and serviceable

- Any flammable liquids are correctly stored

- There is no accumulation of rubbish within or near the building to create a fire hazard.

The result of these fire safety inspections should be recorded

# Fire Risk Assessments

The Padworth Village Hall Fire Risk Assessment will be undertaken on a bi-annual basis by the Fire Safety Officer and the results recorded.

The Fire Risk Assessment will be a standing agenda item at all PVHC meetings, to ensure that additional Fire Risk Assessment Reviews may be undertaken as soon as possible if any changes are made that may potentially impact upon fire safety, such as alterations to the premises or new activities of hirers.

# Policy Adoption and Review

This policy was adopted by the Padworth Village Hall Committee at the Annual General Meeting 2022 and will be reviewed annually thereafter.

# Appendix 1   Fire Safety and Emergency Plan Guide for Hirers

YOU, THE HIRER, are the ‘RESPONSIBLE PERSON’ in the event of a fire or emergency within Padworth Village Hall during your hire of the Village Hall.  At all times Padworth Village Hall is in use, the ‘RESPONSIBLE PERSON’ must be in charge and ready to take control of any incident.

Please read and become familiar with these instructions.  Your priority should always be to Save Lives and not the building!

BEFORE YOUR EVENT STARTS:

- Check that the Village Hall ‘Fire Exit’ lights are working

- Check that all Village Hall ‘Fire Exit’ routes are not blocked e.g., by chairs or tables

- Check that you know where the Village Halls Fire extinguishers are stored and the different uses of Co2, powder and foam extinguishers

- Check that all electrical equipment and extension leads that have been brought into and/or are being used within the Village Hall, look safe to use

- Check that no decorations that have been hung within the Village Hall could fall down and obstruct a Fire Exit

- Inform all of your attendees of the Village Halls’ ‘Fire Exit’ routes and the ‘Assembly Point’ which is at the entrance gate in the car park for the Children’s Playground, in the event of a fire or emergency

DURING YOUR EVENT:

- Ensure that the Village Halls ‘Fire Exit’ routes do not become obstructed

- Brief any disabled people and/or their assistants regarding their best evacuation route from the Village Hall in the event of a Fire or Emergency

- Ensure that nothing obstructs the rear Village Hall Exit ramps so that wheelchair users and those with prams/buggies may be able to leave the Village Hall safely

- Ensure that Emergency service vehicles have a clear access to the Village Hall from the road

- Ensure that your event attendees do not engage in any activity that is likely to cause a fire (e.g., smoking, use of candles or other naked flames)

- Be vigilant regarding any smells of burning or a gradual build-up of smoke

IN THE EVENT OF FIRE OR SOME OTHER EMERGENCY - TAKE COMMAND!

- Give loud and clear instructions, tell everybody to:

- Immediately evacuate the building using the nearest available exit

- Gather at the ‘Assembly Point’ i.e., the entrance gate in the car park for the Children’s Playground

- Start the Village Hall Fire Alarm – by using the Break Glass point by any Fire Exit

- Call the FIRE BRIGADE DIAL 999 and five the address:

Padworth Village Hall

Padworth Lane

Padworth

Reading RG7 4HY

- Check every Village Hall Room, that is safe to enter, to ensure that everyone has left

- Advise any other users in the Cabin or on the Field if safe to do so

- Fire extinguishers should only be used, if required to clear a safe passage to a Fire Exit

- Once outside at the ‘Assembly Point’ check that everyone is accounted for

- Check that the road and car park by the Village Hall is clear for the Emergency Service Vehicles

- Do not allow anyone to enter the Village Hall until a Fire Officer tells you it is safe to enter

Contact the Security Warden on 07449 324851

# Appendix 1 Fire Exit Routes